## 2023 IDO Update
IDO Page | IDO Section | Change / Discussion | Explanation | Source | Category | Item # | EPC Condition # | LUPZ Amendment | Council Amendment | Status
120 R | 3-5(G) [new] | Setbacks in HPOs Add a new Subsection with text as follows: "New development or redevelopment shall comply with contextual standards for lot sizes, front setbacks, and side setbacks in Subsection 14-16-5-1(C)(2), unless the Landmarks Commission approves a different standard in a Historic Certificate of Appropriateness - Major pursuant to Subsection 14-16-6-6(D)." | Applies contextual standards to all development in HPOs for lot sizes and setbacks. Contextual standards in 5-1(C)(2) apply only to low-density residential development in Areas of Consistency. Gives the Landmarks Commission the discretion to approve different lot sizes and setbacks on a case-by-case basis without a variance (which are reviewed by the Zoning Hearing Examiner). | Staff | 2023 Annual Update - EPC | 1 |  |  |  | Recommended Approval
147 | 4-1(A)(4) [new] | Conditional Uses for City Facilities Add a new subsection with text as follows and renumber subsequent subsections accordingly: "City facilites do not require a Conditional Use Approval where listed as 'C' in Table 4-2-1 because they serve a public purpose. Conditions of approval pursuant to Subsection 14-16-6-4(P) may be added by the decision-maker for the associated Site Plan to ensure conformance with the IDO and to ensure public health, safety, and welfare." | Exempts City facilities from the conditional use process. | Admin | 2023 Annual Update - EPC | 11 | 8 |  |  | Recommended Denial
147 | 4-1(A)(4) [new] | Conditional Uses for City Facilities Revise proposed language as follows: "City facilities do not require a Conditional Use Approval where listed as 'C' in Table 4-2-1 because they serve a public purpose and a substantial government interest. Conditions of approval pursuant to Subsection 14-16-6-4(P) may be added by the decision-maker for the associated Site Plan to ensure that the use will not create significant adverse impacts on adjacent properties, the surrounding community, or the larger community conformance with the IDO and to ensure public health, safety, and welfare." | Adds language from conditional use decision criteria. | Admin | 2023 Annual Update - EPC Condition |  | 8 |  |  | Recommended Denial
155 | Table 4-2-1 | Outdoor Amplified Sound Create a new accessory use with use-specific standard and add an A in the following zone districts: MX-M, MX-L, MX-M, MX-H, NR-C, NR-BP, NR-LM, NR-GM Add a CA in MX-T | Adds outdoor amplified sound as an accessory use to enable a curfew between 10 p.m. and 7 a.m. See related amendment for 14-16-4-3(F)(14) and 14-16-7-1. | Public | 2023 Annual Update - EPC | 2 | 2 |  |  | Recommended Denial
161 R | 4-3(B)(4) | Cottage Development See Council Memo for proposed amendments. | See Council Memo. | Council | 2023 Annual Update - EPC | 3 | 3 |  |  | Recommended Approval
159 R | 4-3(B)(4) | Cottage Development Maximum See LUPZ Amendment A4 - Passed | Limits the number of cottage developments that can be adjacent, except within 1/4 mile of UC-MS-PT-MT areas. Lowers the maximum size of each cottage development to 3 acres. | Council | 2023 Annual Update - LUPZ |  |  | A4 |  | Passed
161 | 4-3(B)(5)(b) | Dwelling, Two-family Detached (Duplex) Revise text as follows: "This use is prohibited in the R-1 zone district, except for the following: 1. In R-1A where 1 two-family detached dwelling is permissive on 2 lots where the building straddles the lot line and each dwelling unit is on a separate lot. 2. On corner lots that are a minimum of 5,000 square feet." | Allows duplexes in R-1 on corner lots that are at least 5,000 s.f. | Public | 2023 Annual Update - EPC | 10 | 6 |  |  | Recommended Denial
Multiple | 4-3(B)(5) | Two-family Detached (Duplex) Dwelling See Council Memo for proposed amendments. | See Council Memo. | Council | 2023 Annual Update - EPC | 13 | 7 |  |  | Recommended Denial
Multiple | 4-3(B)(5) | Dwelling, Two-family Detached (Duplex) See Council Memo for proposed amendments | Allows duplexes permissively in R-1 if converting a house. Allows duplexes conditionally in R-1 if constructing new. | Council | 2023 Annual Update - EPC | 13 | 7 |  |  | Recommended Denial
162 R | 4-3(B)(5)(b) | Dwelling, Two-family Detached (Duplex) See LUPZ Amendment A5 - Failed | Allows duplexes permissively in R-1 if converting a house w/in 1/4 mile of UC-MS-PT areas. Allows duplexes conditionally in R-1 if new construction w/in 1/4 mile of UC-MS-PT areas. | Council | 2023 Annual Update - LUPZ |  |  | A5 |  | Failed
162 R | 4-3(B)(5)(b) | Dwelling, Two-family Detached (Duplex) See Council Amendment B2 | Allows duplexes permissively in R-1 if converting a house w/in 1/4 mile of UC-MS-PT areas. Allows duplexes conditionally in R-1 if new construction w/in 1/4 mile of UC-MS-PT areas. | Council | 2023 Annual Update - Council Amendment |  |  |  | B2
166 R | 4-3(C)(6) | Overnight Shelter See LUPZ Amendment A9 - Withdrawn | Limits number of beds allowed permissively. Prohibits >50 beds. | Council | 2023 Annual Update - LUPZ |  |  | A9 |  | Withdrawn
166 R | 4-3(C)(6) | Overnight Shelter See Council Amendment B7 | Limits number of beds allowed permissively. Prohibits >200 beds. | Council | 2023 Annual Update - Council Amendment |  |  |  | B7
175 | 4-3(D)(18) | Light Vehicle Fueling Station - Walls/fences Add a new Subsection with text as follows: "This use requires a wall or fence at least 3 feet high around the perimeter of the premises and from the edges of the primary building to and along the side or rear property line so that pedestrian access is controlled to designated access points and public access is blocked to the side and rear yard beyond public entrances." | Requires a perimeter wall for gas stations to limit pedestrian access and deter crime. | Admin | 2023 Annual Update - EPC | 5 | 4 |  |  | Recommended Denial
186 | 4-3(D)(37) | General Retail - Walls/fences Add a new Subsection (b) with text as follows and renumber subsequent Subsection accordingly: "This use requires a wall or fence at least 3 feet high around the perimeter of the premises and from the edges of the primary building to and along the side or rear property line so that pedestrian access is controlled to designated access points and public access is blocked to the side and rear yard beyond public entrances." | Requires a perimeter wall for general retail stores to limit pedestrian access and deter crime. | Admin | 2023 Annual Update - EPC | 4 | 4 |  |  | Recommended Denial
200 R | 4-3(E)(#) | Energy Storage Systems See Council Amendment B3 | Regulates a new use; establishes use-specific standards. | Council | 2023 Annual Update - Council Amendment |  |  |  | B3 | In review
198 | 4-3(E)(8) | Electric Utility Revise Subsections (a), (b), (c), and (d) to add battery storage in addition to substations. Revise Subsection (f) as follows: "Electric generation facilities, as defined identified in the Facility Plan for Electric System Transmission and Generation, are large-scale industrial developments and are only allowed in the NR-GM zone district." | Requires walls and landscaping for battery storage facilities associated with electric utilities. The definition of electric utility includes battery storage as an incidental activity in Section 7-1. Electric utilities are regulated separately from the standalone Battery Energy Storage System (BESS) proposed in another amendment. | Public | 2023 Annual Update - EPC | 6 | 22 |  |  | Withdrawn
199 R | 4-3(E)(8) | Electric Utility See LUPZ Amendments A6 - Withdrawn | Revises use-specific standards for consistency with Energy Storage System requirements. | Council | 2023 Annual Update - LUPZ |  |  | A6 |  | Withdrawn
199 R | 4-3(E)(8) | Electric Utility See Council Amendment B3 | Revises use-specific standards for consistency with Energy Storage System requirements. | Council | 2023 Annual Update - Council Amendment |  |  |  | B3 | In review
208 R | 4-3(F)(3) | Animal Keeping See LUPZ Amendment A1 - Passed | Adds Animal Welfare Dept. at reviewing agency. | Council | 2023 Annual Update - LUPZ |  |  | A1 |  | Passed
213 R | 4-3(F)(6) | Dwelling Unit, Accessory See LUPZ Amendment A5 - Failed | Prohibits duplexes on lots with an ADU. | Council | 2023 Annual Update - LUPZ |  |  | A5 |  | Failed
213 R | 4-3(F)(6) | Dwelling Unit, Accessory See Council Amendment B2 | Prohibits duplexes on lots with an ADU. | Council | 2023 Annual Update - Council Amendment |  |  |  | B2 | In review
211 | 4-3(F)(5)(f)10 | Volcano Heights Urban Center - Drive Throughs See Council application for small area text amendment. PR-2018-001843 / RZ-2023-00044 EPC Recommendation - Denial O-24-11 | Lifts drivethrough prohibition in Volcano Heights UC | Council | 2023 Annual Update - EPC - Small Area |  |  |  |  | Recommended Denial
217 | 4-3(F)(14) [new] | Outdoor Amplified Sound Create a new subsection with text as follows and renumber subsequent subsections accordingly: "If this use is within 330 feet of a Residential zone district or lot containing a residential use in a Mixed-use zone district, any amplified sound from speakers outside of a fully enclosed building shall be turned off between 10:00 p.m. and 7:00 a.m." | Prohibits amplified sound after 10 p.m. near residential uses. Similar to prohibition of self-storage access. | Public | 2023 Annual Update - EPC | 7 | 2 |  |  | Recommended Denial
Multiple | 4 | Cannabis Retail See Council Memo for proposed amendments, including Table 4-2-1 and use-specific standard in Subsection 14-16-4-3(D)(35). | See Council Memo. | Council | 2023 Annual Update - EPC | 8 |  |  |  | Recommended Approval
Multiple | 4 | Overnight Shelter Revise Table 4-2-1 to make permissive in all zone districts where currently allowed as Conditional (MX-M, MX-H, NR-C, NR-BP, NR-LM, NR-GM). Revise Subsection 14-16-4-3(C)(6) as follows: "(a) This use is prohibited within 1,500 feet in any direction of a lot containing any other overnight shelter. (b) This use shall be conducted within fully enclosed portions of a building. (a) [new] This use requires a Conditional Use approval pursuant to Subsection 14-16-6-6(A) for any of the following: 1. More than 50 beds in any zone district where allowed, except MX-H. 2. Locations within 1,500 feet in any direction of any other overnight shelter. 3. Locations within 330 feet of Residential zone districts or any residential use in a Mixed-use zone district. (c) (b) In the MX-M zone district, this use shall not exceed 25,000 square feet. | Allows small overnight shelters permissively in zone districts where the use is only allowed conditionally. Requires conditional approval for larger shelters, shelters near residential, and shelters within 1500 feet of each other. | Staff | 2023 Annual Update - EPC | 9 | 5 |  |  | Recommended Denial
Multiple | 4 | Dwelling, Live-work On page 151, in Table 4-2-1, add a P in R-1 and change C to P in R-T and R-ML. On page 162, in Subsection 4-3(B)(7)(c), add cannabis retail and nicotine retail as prohibited uses. In Subsection (c)2, revise text as follows: "Any use other than restaurant in the Food, Beverage, and Indoor Entertainment category." | Allows live/work for very small retail and restaurants on corner lots in neighborhoods to open business opportunities for homeowners who otherwise could not purchase/maintain/rent two properties, one for business and one for living. Returns the pattern of corner stores in neighborhoods for services within walking distance of more residences. Prohibits cannabis retail and nicotine retail in all zone districts. | Public | 2023 Annual Update - EPC Condition |  | 9 |  |  | Recommended Denial
Multiple | 4 (cont'd) | Dwelling, Live-work (cont'd) On page 162, in Subsection 4-3(B)(7), add a new subsection (e) with text as follows: "Where allowed in a Residential zone district, general retail and restaurant are limited to a total of 3,000 square feet or less." Add a new subsection (f) with text as follows: "In the R-T and R-ML zone districts, this use is permissive on corner lots that are a minimum of 5,000 square feet. In other locations, this use requires a Conditional Use Approval pursuant to Subsection 14-16-6-6(A)." Add a new subsection (g) with text as follows: "In the R-1 zone district, this use is only allowed on corner lots that are a minimum of 5,000 square feet. Only general retail and restaurants are allowed." | (Cont'd from above) | Public | 2023 Annual Update - EPC | 12 |  |  |  | Recommended Denial
Multiple | 5-2 [new] | Rail Trail New subsection for Rail Trail Contextual Regs. See exhibit. PR-2018-001843 / RZ-2023-00043 EPC Recommendaiton - Approval O-24-17 | Establishes design standards for development next to the Rail Trail. | Staff | 2023 Annual Update - EPC - Small Area |  |  |  |  | Recommended Approval
242 R | 5-2(G) | Irrigation (Acequia) Standards Add a new Subsection with text as follows: "For cluster development and multi-family dwellings, locate at least 25 percent of common open space or ground-level usable open space to be contiguous with the irrigation ditch/acequia. These areas shall be made accessible from the remaining land via pedestrian walkways. Access to irrigation ditches/acequias is only allowed if approved by the Middle Rio Grande Conservancy District (MRGCD)." | Follows the existing requirement for cluster development and multi-family dwellings next to Major Public Open Space in Subsection 14-16-5-2(J)(2)(a). Implements an action in the 2017 ABC Comprehensive Plan. | Comp Plan | 2023 Annual Update - EPC | 14 |  |  |  | Recommended Approval
242 | 5-2(H) | Landfill Gas Mitigation Revise text as follows: "Sensitive lands include landfill gas buffer areas, which comprise closed or operating landfills, landfills closed within the last 30 years, and the areas of potential landfill gas migration surrounding them. Development within landfill gas buffer areas, as established by Interim Guidelines for Development within City Designated Landfill Buffer Zones of the City Environmental Health Department and as shown on the Official Zoning Map, shall follow the Interim Guidelines to mitigate health hazards due to methane and other byproduct gases. All development within a landfill gas buffer requires a Landfill Gas Mitigation Approval pursuant to Subsection 14-16-6-4(S)(5) to ensure that potential health and safety impacts are addressed. | Exempts landfills closed more than 30 years ago from landfill gas mitigation procedures. | Admin | 2023 Annual Update - EPC | 15 | 10 |  |  | Recommended Denial
244 | 5-2(J) | Outdoor Lighting, Major Public Open Space Edges In the 2023 Annual Update Exhibit for Lighting, revise this subsection as follows: "Regardless of zone district, the lighting designation shall be no higher than Lz0 or Lz1 and shall be subject to outdoor lighting curfew to protect natural ecosystems and their biodiversity." | Clarifies language. | Staff | 2023 Annual Update - EPC Condition |  | 23 |  |  | Recommended Approval
247 R | 5-2(K) | Preventing and Mitigating Construction Impact See Exhibit for proposed amendment. | Adds requirements in the IDO for mitigating impact from construction activities next to Major Public Open Space or on properties where sensitive lands have been identified. | Staff | 2023 Annual Update - EPC | 16 |  |  |  | Recommended Approval
248 R | 5-2(L)(2) | Rail Trail, Access and Connectivity See LUPZ Amendment O-24-17 Rail Trail - Withdrawn | Reduces amount of outdoor seating that must be located adjacent to the Rail Trail. | Council | 2023 Annual Update - LUPZ - Small Area |  |  | O-24-17 |  | Withdrawn
248 R | 5-2(L)(5) | Rail Trail, Building Height Stepdown See Council Amendment O-24-17 Rail Trail | Provides an exemption for corner lots. | Council | 2023 Annual Update - Council - Small Area |  |  |  | O-24-17 | In review
248 R | 5-2(L)(6)(b) | Rail Trail, Building Design See LUPZ Amendment O-24-17 Rail Trail - Withdrawn | Provides an exemption for corner lots. | Council | 2023 Annual Update - LUPZ - Small Area |  |  | O-24-17 |  | Withdrawn
272 R | 5-5(B)(4)(d) | RV, Boat, and Trailer Parking See Council Memo for proposed changes. | Limits RV / Boat / Trailer Parking in R-1 | Council | 2023 Annual Update - EPC | 17 | 11 |  |  | Recommended Approval with Condition
272 R | 5-5(B)(4)(d) | Boat and RV Parking See LUPZ Amendment A3 - Passed | Restores RV / Boat / Trailer Parking in R-1 | Council | 2023 Annual Update - LUPZ |  |  | A3 |  | Passed
282 | 285 R | Parking Maximums See Council Memo for proposed amendments. | See Council Memo. | Council | 2023 Annual Update - EPC | 18 | 12 |  |  | Recommended Approval with Condition
295 R | 5-5(G)(3) | Parking Structues for Multi-family Residential Development Revise as follows: "All parking structures that provide parking for multi-family residential development dwellings, mixed-use development, and non-residential development shall comply with the following standards. These standards do not apply to any garage for low-density residential uses." | Broadens the applicability of these building design standards to all uses in the Group Housing sub-category in Table 4-2-1. See Development Definitions, Multi-family Residential Development. | Staff | 2023 Annual Update - EPC | 19 |  |  |  | Recommended Approval
297 | 5-6(B)(1) | Applicability - Landscaping See Council Memo for proposed amendments. | See Council Memo. | Council | 2023 Annual Update - EPC | 20 | 13 |  |  | Recommended Denial
299 R | 5-6(B)(1) | Landscaping Applicability See LUPZ A8 Amendment - Passed | Lowers the threshold for landscaping to be required for development projects. | Council | 2023 Annual Update - LUPZ |  |  | A8 |  | Passed
302 | 5-6(C)(5)(d) | Soil Condition and Planting Beds - Mulching Requirement See Council Memo for proposed amendments. | See Council Memo. | Council | 2023 Annual Update - EPC | 21 | 13 |  |  | Recommended Denial
304 R | 5-6(C)(5)(e) | Soil Condition and Planting Beds - Street Tree Mulching Requirement See Council Memo for proposed amendments. | See Council Memo. | Council | 2023 Annual Update - EPC | 22 |  |  |  | Recommended Approval
315 R | 5-6(E)(5) | Area of Change Next to Area of Consistency See LUPZ Amendment A2 - Passed | Exempts lots abutting an alley from buffering requirements. | Council | 2023 Annual Update - LUPZ |  |  | A2 |  | Passed
328 R | 5-7(D)(3)(a) | Walls & Fences - Front Yard Wall See Council Amendment B6 | Allows 5 foot walls in front yard with view fencing for at least 2 feet at top, set back 5 feet, and landscaped. | Council | 2023 Annual Update - Council Amendment |  |  |  | B6 | In review
320 | 5-7(D)(3)(a) | Walls & Fences - Front Yard Wall Create a new subsection 1, renumbering subsequent subsections accordingly, with text as follows: "For low-density residential development, the maximum height for a wall in the front yard or street side yard is 5 feet if all of the following requirements are met: (a) The wall is not located in a small area where taller walls are prohibited pursuant to Subsection (3) below. (b) View fencing is used for portions of a wall above 3 feet. (c) The wall is set back at least 5 feet, and the setback area is landscaped with at least 3 shrubs or 1 tree every 25 feet along the length of the wall." | Allows 5 foot walls in front yard with view fencing for at least 2 feet at top, set back 5 feet, and landscaped. | Admin | 2023 Annual Update - EPC | 23 | 14 |  |  | Recommended Denial
328 R | 5-7(D)(3)(a) | Front Yard Walls and Fences (Residential) See LUPZ Amendment A7 - Failed | Allows 5 foot walls in front yard with view fencing for at least 2 feet at top, set back 5 feet, and landscaped. | Council | 2023 Annual Update - LUPZ |  |  | A7 |  | Failed
321 | Table 5-7-2 | Options for a Taller Front or Side Yard Wall Revise the first row of text under View Fencing as follows: "<5 10 ft. from lot line abutting the street" | Requires Permit - Wall or Fence - Major for 5-ft. walls less than 5 feet from the property line. | Admin | 2023 Annual Update - EPC | 24 | 14 |  |  | Recommended Denial
342 R | 5-8 | Alleyway Lighting See Council Amendents B1 | Requires properties abutting an alley to light the alley-facing façade. | Council | 2023 Annual Update - Council Amendment |  |  |  | B1 | In review
366 R | 5-11(F) [new] | Building Design - Facades for NR-LM, NR-GM and Industrial Development in Any Zone District See Council Memo for proposed amendments. | See Council Memo. | Council | 2023 Annual Update - EPC | 25 | 15 |  |  | Recommended Approval with Condition
375 R | 5-12(E)(5)(a) | Signs - Illuminated Sign In the Exhibit on Lighting for the 2023 Annual Update, delete the proposed Subsection 3 as unnecessary. "3. [New] No other portion of an illuminated sign shall have a luminance greater than 200 foot lamberts or 685 nits during the hours of darkness at night." | White portions of the sign will always be the brightest, and the table maxes out at 685. | Staff | 2023 Annual Update - EPC |  | 27 |  |  | Recommended Approval
403 R | Table 6-1-1 | Historic Certificate of Appropriateness - Minor Add requirement for Pre-application Meeting. | Matches current practice. | Staff | 2023 Annual Update - EPC | 26 |  |  |  | Recommended Approval
404 R | Table 6-1-1 | Permit - Temporary Use / Temporary Window Wrap Add X in mailed notice requirement for Temporary Use Permit. Move footnote 3 to the mailed notice requirement on both uses. | Clarifies that the requirement for both uses is the same, matching the existing procedure in 14-16-6-5(D)(2)(a)3. | Staff | 2023 Annual Update - EPC | 27 |  |  |  | Recommended Approval
412 R | 6-2(E)(2)(b) | EPC Appointments 6-2(E)(2)(b) Prior to When a vacancy on the EPC occurs or upon the resignation of an EPC member: 1. The Mayor shall notify a City Councilor in writing that his/her District member's term will be expiring of office has expired or that the position is otherwise will be vacant, and that the City Councilor shall have 60 calendar days to submit recommended appointments to fill that position. If the City Councilor fails to submit 2 names within 60 calendar days of notification, the Mayor shall have the right to make the appointment subject to the advice and consent of the City Council. | Allows the EPC appointment process to begin before the Commissioner leaves, eliminating or minimizing the time that a seat is vacant. | Staff | 2023 Annual Update - EPC | 28 |  |  |  | Recommended Approval
417 R | 6-3(D) | Bi-annual Updates to the IDO | Changes annual update to bi-annual update. | Public | 2023 Annual Update - EPC Condition |  | 34 |  |  | Recommended Approval
421 R | 6-4(B) | Pre-submittal Neigh Meeting Revise Subsection (1) as follows: "For applications that meet any of the following criteria, the applicant shall offer at least 1 meeting to all Neighborhood Associations within 330 feet of whose boundaries include or are adjacent to the subject property no more than 90 calendar days before filing the application. In such cases, project applications will not be accepted until a pre-submittal neighborhood meeting has been held, or the requirements for a reasonable attempt in Subsection (3) below have been met." Delete Subsection (2). | Replaces adjacency requirement with a set distance that is expected to achieve approximately the same result. Common administrative practice currently assumes .025 miles (132 feet) from the subject property line to pick up relevant Neighborhood Associations. For large roadways, ONC staff has to measure the roadway. If larger than 132 feet, ONC staff has to manually add Neighborhood Associations that are adjacent. The adjacency requirement precludes automation in GIS. This solution will help automate queries for required NA representative contacts. Note: 330 feet = 1/16 of a mile or approx. 1 city block See related proposed changes to make distances consistent for public notice [6-4(K)], post-submittal facilitated meeting [6-4(L)(3)(a)], and appeals [6-4(V)(2)(a)]. | Staff | 2023 Annual Update - EPC | 29 | 16 |  |  | Recommended Approval
421 R | 6-4(B)(1) | Pre-submittal Neighborhood Meeting See Council Memo for proposed amendments. | See Council Memo. | Council | 2023 Annual Update - EPC | 30 |  |  |  | Recommended Approval
421 R | 6-4(B) | Pre-submittal Neighborhood Meeting See Council Amendment B4(b) | Removes reference to the City's Alternative Dispute Resolution Office and allows a neutral third party agreed to by Neighborhood Associations. Reduces the length of pre-submittal procedures from 45 days to 29 days. | Council | 2023 Annual Update - Council Amendment |  |  |  | B4(b) | In review
423 R | 6-4(C)(4) | Pre-submittal Tribal Meeting See Council Amendment B4(b) | Removes reference to the City's Alternative Dispute Resolution Office and allows a neutral third party agreed to by tribal representatives. | Council | 2023 Annual Update - Council Amendment |  |  |  | B4(b) | In review
423 R | 6-4(C)(4) | Pre-submittal Tribal Meeting See Council Amendment B5 | Removes reference to the City's Alternative Dispute Resolution Office and allows a neutral third party agreed to by tribal representatives. | Council | 2023 Annual Update - Council Amendment |  |  |  | B5 | In review
408 | 6-4(J) | Tribal Engagement - Northwest Mesa View Protection Overlay Zone (VPO-2) See Council memo for proposed amendments. PR-2018-001843 / RZ-2023-00050 EPC Recommendation Denial O-24-12 | Add tribal representatives as commenting agency for applications in VPO-2 | Council | 2023 Annual Update - EPC - Small Area |  |  |  |  | Recommended Denial
428 R | 6-4(J) | Referrals to Agencies Revise second sentence as follows: "For administrative decisions in Table 6-1-1, any comments received after such a referral and prior to the decision shall be considered with the application materials in any further review and decision-making procedures. For decisions that require a public hearing and policy decisions in Table 6-1-1, Any comments must be received within 15 calendar days after such a referral to shall be considered with the application materials in any further review and decision-making procedures." | Matches current practice. Referring agencies receive notice of applications that are decided administratively, but the City will not delay these administrative decisions for 15 days until the comment period ends, as is done with decisions that require a public hearing. | Staff | 2023 Annual Update - EPC | 31 |  |  |  | Recommended Approval
430 R | 6-4(J) | Animal Keeping See LUPZ A1 Amendment - Passed | Adds Animal Welfare Dept. at reviewing agency. | Council | 2023 Annual Update - LUPZ |  |  | A1 |  | Passed
431 R | 6-4(K) | Public Notice to Neighborhood Associations Replace the adjacency requirement for notice to Neighborhood Associations with a set distance of 330 feet from the subject property in the following subsections: (2) Electronic Mail (3)(b)3 Mailed Notice to Neighborhood Associations | Replaces the "adjacent" requirement with a set distance to allow automation of the query for Neighborhood Associations. See related proposed changes to make distances consistent for pre-submittal neighborhood meeting [6-4(B)], post-submittal facilitated meeting [6-4(L)(3)(a)], and appeals [6-4(V)(2)(a)]. | Staff | 2023 Annual Update - EPC | 32 | 16 |  |  | Recommended Approval with Condition
412 | 6-4(K)(3)(c)2 | Mailed Notice to Property Owners Revise the second sentence as follows: "For zoning map amendment applications only, adjacent properties shall be included where Where the edge of that 100-foot buffer area falls within any public right-of-way, adjacent properties shall be included." | Removes the adjacency requirement to allow automation for the query for property owners in all but zoning map amendment cases. The State of New Mexico requires mailed notice to adjacent property owners within 100 feet excluding right-of-way for zoning map amendments. | Staff | 2023 Annual Update - EPC | 33 | 17 |  |  | Recommended Denial
412 | 6-4(K)(3)(d)2 | Mailed Notice for Amendments to IDO Text - Small Area Revise text as follows: "All owners, as listed in the records of the Bernalillo County Assessor, of property located partially or completely within 100 feet in any direction of the proposed small area. Where the edge of that 100-foot buffer area falls within any public right-of-way, adjacent properties shall be included." | Removes the adjacency requirement to allow automation for the query for property owners. | Staff | 2023 Annual Update - EPC | 34 | 17 |  |  | Recommended Denial
434 R | 6-4(K)(4) | Posted Sign Create new subsections, revise existing text as follows, and renumber subsequent subsections accordingly: "(a) Where Table 6-1-1 requires posted sign notice, the applicant shall post at least 1 sign on each street abutting the property that is the subject of the application, at a point clearly visible from that street. (b) For administrative decisions, the sign shall be posted for at least 5 calendar days after submitting the application and 15 days after the decision through the required appeal period pursuant to Subsection 14-16-6-4(V)(3)(a)1. (c) For decisions requiring a public hearing or policy decisions, the sign shall be posted for at least 15 calendar days before a required the public hearing and for the required appeal period following any final decision, required pursuant to Subsection 14-16-6-4(U) and Subsection 14-16-6-4(V)(3)(a)1." | Requires signs to be posted before administrative decisions. The existing language requires posting before the decision only for applications requiring a public hearing and after the decision for the appeal period for all applications. | Staff | 2023 Annual Update - EPC | 35 |  |  |  | Recommended Approval
438 R | 6-4(L)(3)(a) | Post-submittal Facilitated Meeting Revise the final sentence as follows: "The facilitator shall attempt to contact all Neighborhood Associations within 330 feet of whose boundaries include or are adjacent to the subject property." | Replaces adjacency requirement with a set distance to allow automation of the query for Neighborhood Associations. See related proposed changes to make distances consistent for pre-submittal neighborhood meeting [6-4(B)], public notice [6-4(K)], and appeals [6-4(V)(2)(a)]. | Staff | 2023 Annual Update - EPC | 36 | 16 |  |  | Recommended Approval with Condition
452 R | 6-4(V)(2)(a) | Appeals - Standing Based on Proximity for Neighborhood Associations In Subsection 14-16-6-4(V)(2)(a)5, revise text as follows: "Property owners (other than the applicant) and Neighborhood Associations on the basis of proximity for decisions as specified in Table 6-4-2. a. Distances noted in feet in Table 6-4-2 are measured from the nearest lot line of the subject property. Where the edge of that area falls within a public right-of-way, adjacent properties shall be included. b. Distances for Neighborhood Associations are based on the boundary on file with the ONC at the time the application for decision related to the subject property was accepted as complete. c. Where proximity is noted as “Includes or Is Adjacent,” the Neighborhood Association boundary includes or is adjacent to the subject property.” In Table 6-4-2, replace "Includes or Is Adjacent" and "660 feet" with "330 feet." | Replaces "adjacent" with a set distance of 330 feet and matches that distance for all other decisions. See related proposed changes to make distances consistent for pre-submittal neighborhood meeting [6-4(B)], public notice [6-4(K)], and post-submittal facilitated meeting [6-4(L)(3)(a)]. | Staff | 2023 Annual Update - EPC | 37 | 18 |  |  | Recommended Approval with Condition
459 R | 6-4(X) | Time Extensions See Exhibit for proposed amendments. | Makes time extensions an administrative review/decision. Time extensions do not include changes to the original approval, when public notice takes place. The applicant must justify the request by showing that circumstances beyond their control prevented progress on the project. The shortage of construction workers and other delays are more common, so this administrative approval will help more projects get on the ground. | Staff | 2023 Annual Update - EPC | 39 |  |  |  | Recommended Approval
461 R | Table 6-4-3 | Conditional Use Expiration Revise the period of validity for Conditional Use Approvals as follows: "2 years 1 year after issuance if use is not begun, or 2 years 1 year after use is discontinued or fails to operate" | Extends conditional use approvals. Construction often takes longer than 1 year, and restarting a use also takes more time in recent years. | Public | 2023 Annual Update - EPC | 38 |  |  |  | Recommended Approval
525 R | 6-6(O)(2) | Variance - ZHE Revise Subsection (b) as follows: "All applications in an HPO zone or on a property or in a district listed on the State Register of Cultural Properties or the National Register of Historic Places shall first be referred for review and comment reviewed by the Historic Preservation Planner pursuant to Subsection 14-16-6-5(B) (Historic Certificate of Appropriateness – Minor), and the Historic Preservation Planner shall send a recommendation to the ZEO." Add a new Subsection (c) with text as follows and renumber subsequent subsections accordingly: "All applications on a property adjacent to Major Public Open Space shall be referred for review and comment by the Parks & Recreation Open Space Superintendent." | Adds a procedure for the Open Space Superintendent to review variances requested adjacent to Major Public Open Space. | Staff | 2023 Annual Update - EPC | 40 |  |  |  | Recommended Approval
555 R | 6-8(D)(1) | Nonconforming Structures Create new subsections and revise text as follows: "1. Unless specified otherwise in this Section 14-16-6-8, a nonconforming structure shall be allowed to continue to be used, regardless of any change in ownership or occupancy of the structure, until the structure is vacant for a period of 2 years, or until unless another provision of this Section 14-16-6-8 requires the termination of the use. 2. Mobile home dwellings are subject to provisions in Subsection 14-16-6-8(C)(7) (Mobile Home Dwellings). 3. Signs are subject to provisions in Subsection 14-16-6-8(F) (Nonconforming Signs)." | Allows nonconforming structures to be re-used even after being vacant for 2+ year. Note that a separate rule on nonconforming uses would continue to have a time limit of 2 years. This rule change would incentivize the reuse of existing buildings, while the nonconforming use rule would ensure compliance with allowable uses over time. | Staff | 2023 Annual Update - EPC | 41 |  |  |  | Recommended Approval
534 | 6-8(G)(2)(a)1.a | Front Yard Parking See Council Memo for proposed amendments. | See Council Memo. | Council | 2023 Annual Update - EPC | 42 | 19 |  |  | Recommended Denial
Multiple | 6 | Pre-submittal Neighborhood Meeting Post-Submittal Facilitated Meeting See LUPZ Amendment A10 - Withdrawn | Eliminates Pre-submittal Neighborhood meeting. Establishes criteria for a Post-submittal Facilitated Meeting. | Council | 2023 Annual Update - LUPZ |  |  | A10 |  | Withdrawn
Multiple | 6 | Wireless Telecommunications Facility - Public Notice In Table 6-1-1, add Email Notice requirement for WTFs. Move language in 6-4(K)(3)(b)2 to 6-4(K)(2) in a new Subsection. | Adds consistency with other decisions that provide notice to Neighborhood Associations in terms of receiving email notice. Note that Subsection 14-16-6-4(K)(2)(a) requires mailed notice if a Neighborhood Associate Representative does not have an email address on file with ONC. Subsection 14-16-6-4(K)(7)(b) requires that an applicant request updated information from the City and another attempt if the email bounces back. | Staff | 2023 Annual Update - EPC | 43 |  |  |  | Recommended Approval
Multiple | 6-4(Y) | Minor and Major Amendments & Expiration (Post-IDO Approvals) Add a new Subsection 6-4(Y)(2)(d) with text as follows: "An approved minor amendment does not affect the expiration of the original approval. Time extensions must be requested pursuant to Subsection 14-16-6-4(X)(4) (Extensions of Period of Validity)." Add a new Subsection 6-4(Y)(3)(d) with text as follows: "An approved major amendment replaces the original approval in terms of expiration, if one applies pursuant to Table 6-4-3." | Clarifies how amendments affect the period of validity of the original approval. Matches existing practice. | Staff | 2023 Annual Update - EPC | 44 |  |  |  | Recommended Approval
Multiple | 6-4(Z) | Minor and Major Amendments & Expiration (Pre-IDO Approvals) Make existing text a new Subsection 6-4(Z)(1)(a)1 and add a new Subsection 6-4(Z)(1)(a)2 with text as follows: "An approved minor amendment does not affect the expiration of the original approval. Time extensions must be requested pursuant to Subsection 14-16-6-4(X)(4) (Extensions of Period of Validity)." Add a new Subsection 6-4(Z)(1)(b)3 with text as follows: "An approved major amendment replaces the original approval in terms of expiration, if one applies pursuant to Table 6-4-3." | Clarifies how amendments affect the period of validity of the original approval. Matches existing practice. | Staff | 2023 Annual Update - EPC | 45 |  |  |  | Recommended Approval
569 R | 7-1 | Definitions, Adjacent Revise text as follows: "Those properties that are abutting or separated only by a street, alley, trail, or utility easement, whether public or private. Properties that are on opposite corners of an intersection diagonally (e.g. "kitty corner" or "catty corner" or "caddy corner") are not considered adjacent." | Clarifies that diagonal properties are not adjacent. | Staff | 2023 Annual Update - EPC Condition |  | 32 |  |  | Recommended Approval
581 R | 7-1 | Definitions, Community Residential Facility Revise text as follows: "A facility that is designed to provide a residence and services Any building, structure, home, or in which persons reside for a period of more than 24 hours and that is designed to help the residents adjust to the community and society and is used or intended to be used for the purposes of letting rooms, providing meals, and/or providing for persons who need personal assistance, personal services, personal care, and/or protective care, but not skilled nursing care. This use specifically includes, but is not limited to, facilities and who meet meeting the definition of a handicapped person or for other persons are protected against housing discrimination under the federal Fair Housing Act Amendments of 1998 (or as amended) and court decisions interpreting that Act. | Revised to make the definition more operational, enforceable, and parallel to other defined terms. See also proposed amendments for Group Home and Nursing Home in Section 7-1. | Staff | 2023 Annual Update - EPC | 46 | 20 |  |  | Recommended Approval with Condition
581 R | 7-1 (cont'd) | Definitions, Community Residential Facility (cont'd) "For purposes of this definition, the term handicapped does not include persons currently using or addicted to alcohol or controlled substances who are not in a recognized recovery program. This use does not include 24-hour skilled nursing care. This use shall not include half-way houses for individuals in the criminal justice system or residential facilities to divert persons from the criminal justice system. See also Family, Family Care Facility, and Group Home. | (Cont'd from above) | Staff | 2023 Annual Update - EPC | 46 |  |  |  | Recommended Approval with Condition
581 R | 7-1 (cont'd) | Definitions, Community Residential Facility (cont'd) Add the following text to the proposed revision to read as follows: "For purposes of this definition, the term handicapped does not include persons currently using or addicted to alcohol or controlled substances who are not in a recognized recovery program. This use does not include facilities for persons currently using or addicted to alcohol or controlled substances who are not in a recognized recovery program, facilities for persons individuals in the criminal justice system, or residential facilities to divert persons from the criminal justice system, which are all regulated as group home for the purposes of this IDO. This use does not include 24-hour skilled nursing care, which is regulated as either hospital or nursing home for the purposes of this IDO. See also Family, Family Care Facility, and Group Home, and Nursing Home. " | Adds cross reference to group home definition for clarity. | Staff | 2023 Annual Update - EPC |  | 20 |  |  | Recommended Approval with Condition
582 R | 7-1 (cont'd) | Definitions, Community Residential Facility (cont'd) Revise text as follows: "Community Residential Facility is divided into 2 categories based on the number of individuals residing in the facility (not the size of the structure). 1. Community Residential Facility, Small: A facility housing between 6 and 8 individuals receiving services, plus those providing services that do not meet the definition of a family in which personal service, personal assistance, personal care, and/or protective care are provided. 2. Community Residential Facility, Large: A facility housing between 9 and 18 individuals receiving services, plus those providing services that do not meet the definition of family in which personal service, personal assistance, personal care, and/or protective care are provided. | (Cont'd from above) | Staff | 2023 Annual Update - EPC | 46 |  |  |  | Recommended Approval with Condition
590 R | 7-1 | Definitions, Facade Definitions, Street-facing Façade Any façade that faces and is within 30 feet of a property line is visible from an abutting a street, not including alleys, unless specified otherwise in this IDO. A building may have more than one street-facing façade. The phrase “façade facing a” that refers to a specific street or to alleys is included in this definition as well. | Clarifies the applicability of façade requirements. | Staff | 2023 Annual Update - EPC Condition |  | 33 |  |  | Recommended Approval
594 R | 7-1 | Definitions, Group Home Revise text as follows: "A facility Any building, structure, home, facility, or place in which persons reside for a period of more than 24 hours that is designed to provide a residence and services help the residents adjust to the community and society and that is intended to be used for the purposes of letting rooms, providing meals, and/or providing personal assistance, personal services, personal care, and protective care to for persons that who need personal assistance, personal services, personal care, and/or protective care but do not meet the definition of a handicapped person or another person protected against housing discrimination under the federal Fair Housing Act Amendments of 1988 (as amended) and court decisions interpreting that Act, but not skilled nursing care. This use does not include 24-hour skilled nursing care. This use includes other services as incidental activities if they comply with all local and State licensing requirements, including any required license by the New Mexico Department of Health." | Revised to make the definition more operational, enforceable, and parallel to other defined terms. See also proposed amendments for Community Residential Facility and Nursing Home in Section 7-1. | Staff | 2023 Annual Update - EPC | 47 |  |  |  | Recommended Approval
594 R | 7-1 (cont'd) | Definitions, Group Home (cont'd) Revise text as follows: "This use includes shall include halfway houses for facilities for persons individuals in the criminal justice system or residential facilities to divert persons from the criminal justice system. This use includes facilities for persons currently using or addicted to alcohol or controlled substances who are not in a recognized recovery program." | (Cont'd from above) | Staff | 2023 Annual Update - EPC | 47 |  |  |  | Recommended Approval
612 R | 7-1 | Definitions, Nursing Home Revise text as follows: "A facility designed to provide a residence, housing, meals, and medical- and health-related care for individuals, including 24-hour skilled nursing care. This definition includes facilities providing in-patient care for individuals suffering from a terminal illness. Such facilities may include commercial kitchens with shared dining facilities for residents; medical services with personnel that provide assistance with medication, administration, dressing, bathing, and social activities; activity rooms; indoor recreational amenities; gift shops; hair salons; administrative offices; laundry services; worship space; and overnight guest units for short-term visitors." | Revised to make the definition more operational, enforceable, and parallel to other defined terms. See also proposed amendments for Community Residential Facility and Group Home in Section 7-1. | Staff | 2023 Annual Update - EPC | 48 |  |  |  | Recommended Approval
615 R | 7-1 | Definitions, Overnight Shelter "A facility that provides temporary or transitional sleeping accommodations for 6 or more persons within completely enclosed portions of a building with no charge or a charge substantially less than market rates. Such facilities may provide meals, personal assistance, personal services, social services, personal care and protective care. This use does not include 24-hour skilled nursing care, which is regulated as either hospital or nursing home for the purposes of this IDO." | Revised for consistency with other proposed changes. See proposed amendments for Community Residential Facility, Group Home, and Nursing Home in Section 7-1. | Staff | 2023 Annual Update - EPC | 49 |  |  |  | Recommended Approval
586 | 7-1 | Definitions, Outdoor Amplified Sound [new] Create a new term with text as follows and renumber subsequent subsections accordingly: "Amplified sound from speakers outside of a fully enclosed building either permanently mounted or used more than 1 time per week. This use does not include amplified sound associated with a special event permit or a temporary use, which are regulated separately." | Defines outdoor amplified sound to enable a curfew between 10 p.m. and 7 a.m. when used as an accessory use. | Public | 2023 Annual Update - EPC | 50 |  |  |  | Recommended Denial
616 R | 7-1 | Parking Definitions Garage Revise text as follows: "A single-story structure or part of a building in a low-density residential development or a single-story structure in a multi-family residential development designed to accommodate motor vehicle parking spaces that are partially or completely enclosed, but not including a parking structure." | Adds multi-family residential development to the definition of garage. Multi-story parking is defined as parking structure. Removes conflict with carport, which is defined as parking structure that is partially enclosed. | Staff | 2023 Annual Update - EPC | 51 |  |  |  | Recommended Approval
625 R | 7-1 | Sensitive Lands Large Stand of Mature Trees Revise existing text as follows: "At least 3 A collection of 5 or more trees that are each at least 10 years old 30 years or older or with a trunk at least 8 inches in diameter at breast height (DBH), as measured by the City Forester, on a subject property having truck diameters (as determined by Diameter at Breast Height – DBH) averaging at least 16 inches in diameter, as determined by the City Forester. | Revised to be more realistic given existing trees in ABQ. | Staff | 2023 Annual Update - EPC | 52 | 21 |  |  | Recommended Approval with Condition
625 R | 7-1 | Sensitive Lands Rock Outcropping Revise existing text to read as follows: "Bedrock or other stratum a minimum of 4 feet 6 feet high on its steepest side as measured from the adjacent 10 percent slope line and in excess of 300 500 square feet in surface area." | Revised to be more realistic given existing rock outcroppings in ABQ. | Staff | 2023 Annual Update - EPC | 53 |  |  |  | Recommended Approval
Multiple | Multiple | Fire Station or Police Station On page 53, in Subsection 14-16-2-5(E)(2), delete subsection (f). On page 151, in Table 4-2-1, add a new use for Fire station or police station with P in MX-M, MX-H, NR-C, NR-BP, NR-LM, and NR-GM. | Allows fire stations and police stations to be permissive in existing zone districts. Currently, fire stations and police stations require a zone change to NR-SU and the adoption of a Site Plan - EPC. | Admin | 2023 Annual Update - EPC | 54 |  |  |  | Recommended Approval
Multiple | Multiple | Battery Energy Storage System (BESS) See Exhibit for a new use in Table 4-2-1, new use-specific standards in Subsection 4-3, and new definitions in 7-1. | Responds to recent applications for private battery energy storage systems and a Declaratory Ruling by the ZEO in early 2022. Establishes distance separations from residential, Major Public Open Space, religious institutions, and schools. | Staff | 2023 Annual Update - EPC | 55 | 22 |  |  | Withdrawn
Multiple | Multiple | Outdoor and Site Lighting See Exhibit for proposed amendments, including: Revising USS for self-storage in 4-3(D)(29)(e) Revising USS for WTFs in 4-3(E)(12)(g) Replacing 5-8 with new text Revising illuminated sign standard in 5-12(E)(5)(a)2 Revising electronic sign standard in 5-12(H)(4) Adding, revising, and deleting definitions in 7-1 | Updates existing lighting regulations to improve compliance with State’s Dark Sky Ordinance and improve enforceability. | Staff | 2023 Annual Update - EPC | 56 | 23 24 25 26 27 |  |  | Recommended Approval with Conditions
Multiple | Multiple | Landscaping Standards See Exhibit for proposed amendments in 5-6 and 7-1. | Increase requirements for plants and irrigation, reduce water consumption, and improve survivability of landscaping in the high desert environment. | Staff | 2023 Annual Update - EPC | 57 | 13 |  |  | Recommended Approval with Condition
Multiple | Multiple | Tribal Engagement See Council memo for proposed amendments, including the following Subsections: 14-16-6-4(J) Referrals to Commenting Agencies 14-16-6-5(A) Archaeological Certificate 14-16-7-1 Definitions | See Council memo | Council | 2023 Annual Update - EPC | 58 | 28 29 30 31 |  |  | Recommended Approval with Conditions
All | All | Clerical Changes Make any necessary clerical corrections to the document, including fixing typos, numbering, and cross references. | Covers general clerical corrections. | Staff | 2023 Annual Update - EPC | 59 | 1 |  |  | Recommended Approval
All | All | Editorial Changes Make any necessary editorial changes to the document, including minor text additions, revisions for clarity (without changing substantive content), adding cross references, reorganizing content for better clarity and consistency throughout, revisions to graphic content for clarity, and updating tables of contents. | Covers general editorial corrections. | Staff | 2023 Annual Update - EPC | 60 | 1 |  |  | Recommended Approval
Note on C74: Renz-Whitmore, Mikaela J.: Look at "shall recommend" language